COMPARISON OF PI AND HYSTERESIS CONTROL OF THE ACTIVE AND REACTIVE POWER OF DOUBLY FED INDUCTION GENERATOR FED BY THREE-LEVEL INVERTER

First C. BELFEDAL,        Second S. MOREAU

Tiaret University, 14000, Algeria

LAII Laboratory, ESIP 86022 Poitiers, France

bochradz@yahoo.com,     sandrine.moreau@univ-poitiers.fr

Third A. A. NAASSANI      Fourth M.A DENAI  Fifth T. ALLAOUI

Aleppo University, Syria

Control Labotory, U.S.T.O, Algeria

Tiaret University, 14000, Algeria

naassani@scs- net.org,     ma_denai@hotmail.com,        allaoui_tb@yahoo.fr

Abstract: The present article proposes the control of the active and reactive powers, independently of each other, of a DFIG (Doubly Fed Induction Generator) used generally in the production of the electric energy and more especially in wind turbines.

The machine is connected to a public network and works as a generator. Its rotor is fed by a three levels inverter. We propose to control the DFIG by two strategies, the first one is based on the use of classic PI controllers and the second one is based on the use of hysteresis regulators. Then we will end up by a comparison of the performances obtained by the two control strategies.

Key words: DFIG, wind turbine, hysteresis regulator, PI controller, Three- level inverter.

- Introduction.

The squirrel cage induction machine is extensively used for its weak cost and its simplicity of construction and maintenance, but when it is connected to a fixed frequency network, the totality of the power is not extracted because of its low sliding (restricted speed interval), on the contrary the wound-rotor induction machine can be used to remedy this drawback [1].

As wind turbines turn with a variable speed depending on the wind speed, the wound-rotor induction machine presents good performance thanks to its large margin of speed variation [2]. Besides, the power consumed by to the rotor is very lower to the one provided for the network [3] (Pr, Qr << Ps, Qs with Pr = g.Ps, Qr = g.Qs).

Ps : 	Active stator power

Qs : 	Reactive stator power

Pr : 	Active rotor power

Qr : 	Reactive rotor power

Pm :	Mechanical power

g : 	Generator slip

DFIG

Pr

Ps

Pm

Fig.1. Energy transfer in DFIG.

Running in generator mode, the wound-rotor induction machine provides the active power Ps to the network equals to the sum of the mechanical and rotor powers (PmPr) if the different losses occurring during the electromagnetic conversion are neglected.

The advantage of the wound-rotor induction machine is based on the bi-directional transfer of the rotor power which depends on the power balance between mechanical energy and the one provided for the network. Indeed, to produce energy for the network, we have:

- To provide the energy for the rotor from the mechanical energy. So in this case, the rotor speed should verify the following relationship N>Ns (and Pr <0) [4].

where 	N: Rotor speed

Ns : Synchronous speed

- Or to provide the energy for the rotor from the network energy. In this case, we have N<Ns (and Pr>0) (see Fig.1 and 2).

The inverter connected to the rotor of the DFIG must provide the necessary complement frequency in order to maintain constant the stator frequency despite the variation of the mechanical speed.

ws

p.

wr

ws: 	Electrical stator pulsation

ws : 	Electrical rotor pulsation

 : 	Mechanical rotor speed.

p : 	Number of pole pairs

Fig.2. Relation between DFIG frequencies.

Field Oriented Control

Control unit



Three levels rotor side converter

Three levels line side converter

DFIG

Network

Network

Stator

Rotor

Fig.3. Synoptic of DFIG connected to the public network.

The system studied in the present article is constituted of a DFIG directly connected through the stator windings to the network, and supplied through the rotor by a static frequency converter (Fig. 3).

In the present work, the energy exchange between public network and DFIG is obtained by controlling independently the active and reactive powers.

We suppose that:

1 - The regulation of the stator voltage amplitude and frequency is established.

2 – The voltage is stabilized to a value equal to the one of the network.

The connection of the DFIG is accomplished after having satisfied these two above conditions.

The two approaches presented in this article are on the one hand the direct control of powers by using PI regulators, and on the other hand, the indirect control of the powers by hysteresis regulators.

- Mathematical Model of the DFIG.

In the rotating field reference frame, the model of the wound-rotor induction machine is given by the following equations:

Equations of stator and rotor voltage components:

Vds=Rs.Ids+dΦdsdt−wsΦqs			(1)

Vqs=Rs.Iqs+dΦqsdt+wsΦds			(2)

Vdr=Rr.Idr+dΦdrdt−wrΦqr			(3)

Vqr=Rr.Iqr+dΦqrdt+wrΦdr			(4)

Equations of stator and rotor flux components:

Φds=Ls.Ids+M.Idr				(5)

Φqs=Ls.Iqs+M.Iqr				(6)

Φdr=Lr.Idr+M.Ids				(7)

Φqr=Lr.Iqr+M.Iqs				(8)

Equations of electromagnetic torque:

Cem=p.MLs(Φds.Iqr−Φ.Idr) 		(9)

Mechanical equation:

Cem=Cr+JdΩdt+f.Ω			(10)

where:

Vds, Vqs : are respectively the stator voltage components in the d-q reference frame.

Vdr, Vqr : are respectively the rotor voltage components in the d-q reference frame.

Ids, Iqs : are respectively the stator current components in the d-q reference frame.

Idr, Iqr : are respectively the rotor current components in the d-q reference frame.

Φds, Φqs : are respectively the stator flux components in the d-q reference frame.

Φdr, Φqr : are respectively the rotor flux components in the d-q reference frame.

Rs, Rr : are respectively the stator and rotor phase resistances.

Ls, Lr : are respectively the stator and rotor phase inductances.

M : is the cyclic mutual inductance.

Cr : is the load torque.

f : is the viscous friction coefficient.

J : is the moment of inertia.

- Three-level inverter.

A three-level inverter differs from a conventional two-level inverter in that it is capable of producing three different levels of output phase voltage. The structure of a three-level neutral point clamped inverter is shown in Figure 4. When switches 1 and 2 are on the output is connected to the positive supply rail. When switches 3 and 4 are on, the output is connected to the negative supply rail. When switches 2 and 3 are on, the output is connected to the supply neutral point via one of the two clamping diodes [5].

Most of the three-level inverters are generally used in driving the high-power induction motors. In the high-power three-level inverter applications, the inverter switching frequency is limited, at most 1 kHz. This limitation on the switching frequency results from a consideration that the higher the switching frequency, the heavier the cooling voltage vector is and it is more complex than for the two-level inverters [6].

Fig.4. Three-level inverter.

- Control with PI regulators.

The stator flux vector is oriented according to the d axis in the Park’s reference frame (Fig.5) and if the voltage drop due to the stator resistance Rs is neglected, we can write:

Vdr=Rr.Idr+(Lr−M²Ls)dIdrdt+MLs.dΦsdt −wr(Lr−M²Ls).Iqr 	(11)

s

r

s

r

Vs

s

d

q

s

r

Vqr=Rr.Iqr+(Lr−M²Ls)dIqrdt +wr(Lr−M²Ls).Idr+wr.(MLsΦs)     	(12)

Fig.5. Stator flux vector oriented according the d axis in the Park’s reference frame.

The Ps and Qs expressions can be written as follow:

Ps=−Vs.MLsIqr 				(13)

Qs=Vs.ΦsLs−Vs.MLs.Idr 			(14)

We can notice in the equations of Vdr (11) (control variable of Ps) and Vqr (12) (control variable of Qs) that these two control variables are coupled. The decoupling is obtained by compensation in order to assure a control of Ps and Qs independent of one another. So we get a first order system, and its control is simplified and realized by a PI regulator.

The global scheme of the control through PI regulators can be given as follows (Fig. 6):

Three levels converters

DFIG

Network

2/3

Ps*

Qs*

Ps

Qs

Cd

Cq

+      -

+      -

 –s



Fig.6. Global scheme of control through PI regulators.

Cq : 	Compensation terms according to q axis,

Cd :	Compensation terms according to d axis,

Ps* : 	active power reference,

Qs* : 	reactive power reference,

Ps : 	measured active power,

Qs : 	measured reactive power.

From equations (13) and (14) we can write:

Iqr=−.LsM.VsPs					(15)

Idr=LsM.VsQs−ΦsM				(16)

By replacing Idr and Iqr in (11) and (12), neglecting the terms cancelled by compensation and taking s constant we obtain:

Vdr=Rr.LsM.Vs.Qs+(Lr−M²Ls)LsM.Vs.dQsdt−Rr.ΦsM  	(17)

Vqr=−Rr.LsM.Vs.Ps+(Lr−M²Ls)−LsM.Vs.dPsdt   	(18)

We can write :

Vdr=−A.Qs−B.dQsdt−C			(19)

Vqr=APs+B.dPsdt				(20)

Where:

A=−Rr.LsM.Vs, B=(Lr−M²Ls)−LsM.Vs,  	(21) C=Rr.ΦsM.					(22)

Therefore:

PsVqr=1A+B.s=1Bs+AB.			(23)

We can represent the fig.6 as follows:

PI

System

Ps

Ps*

Fig.7. Scheme of the system with feed-back loop.

The gain of block PI is in the form:

GPI=Kp+Kis=Kps.(s+KiKp)		(24)

Therefore the fig. 7 becomes:

Ps

Ps*

+

-

Fig.8. Scheme of the PI and system form with feed-back loop.

So, if we want to model the loop of regulation by a first order, we can compensate the zero introduced by PI with the pole in open loop of the system:

KiKp=AB		  Ki=Kp.AB		(25)

PsPs∗=GBF=11+T.s				(26)

PsPs∗=KpB.s1+KpB.s=KpB.s+Kp=11+BKp.s=11+T.s	(27)

- Indirect power control through hysteresis regulators.

In the second approach, called ‘indirect power control’, since Iqr and Idr are respectively the images of Ps and Qs, instead of taking both powers on the line, we capture the rotor currents and compare them with the values of references currents which reflect in reality the image of the two powers, which gives an anticipated value of the powers in the winding stator, and consequently the response to the reference variations will be faster since we act directly on the rotor currents.

The references of the currents are deduced from the active and reactive powers reference by using the equations (13) and (14) as it can be shown on the following control diagram:



DFIG

Network

2/3

Ps*

Qs*

f(u)

f(u)



-

Iqr*

Idr*

r

Iabc mes

Three levels converters

s

Fig.9. Control system through hysteresis regulator.

Ps* : 	Active power reference,

Qs* : 	Reactive power reference.

Iabc* : 	Rotor currents reference.

Iabcmes : Measured rotor currents.

 : 	Mechanical position

r : 	Rotor flux vector position

s : 	Stator flux vector position

- Filtering.

To reduce the harmonic distortion rate, we can add an inductance on each phase between the stator of the machine and the network. This process presents some drawbacks:

- We have the voltage drop due to the passage of fundamental current in inductances

- The commutation angle increases and as well as the surface of the commutation notches [8].

The inductance of the filter is generally dimensioned equal to a fraction of the impedance of the machine, thus the voltage drop is reduced in the inductance of the filter. In this case we will choose: L = 0.1 Ls. The resistance corresponds to the internal resistance of inductance and is thus proportional to the internal Joules losses of inductance [7]; if we consider that these losses are definite lower than 1% of the total power, therefore:

r=0.01.Ps3.Is 					(28)

- Simulation results.

The both control strategies are simulated by using the MATLAB/SIMULINK software. So as to really evaluate the performances of the two strategies of regulation, we test and compare the responses of the two last ones in three cases:

a) In the first case, we apply an active power step from 0 to -5kw at the instant t=2s, (Qs*=0 VAR).

b) In the second case, we apply a rotation speed step varying from 3000 rpm to 3600 rpm.

c) In the third case, we increase Rr of 100% (case of warming-up of the rotor windings) at the instant t=3s.

We finally study the rate of harmonics in stator currents.

The powers order of functioning in steady regime for a 5 kW demand is as follows:

Pm =12,592 kW for a speed of 3600 rpm and

Pr = -7,460 kW.

  - Variation of the reference.

While imposing a step of Ps=-5kW at the instant t=2s (Qs* = 0 Var), we get the responses for the PI and hysteresis regulators respectively in fig. 10 and 11.

The responses of the two regulators pursue the reference with a very fast time response equal to 1ms for the hysteresis regulator (Fig. 10), and with a slower time response for the PI regulator. We also notice on the Fig. 12 and 13 that the variation of the active power has a slight influence on the reactive power in both cases and even a quasi negligible effect for the hysteresis regulator.

The Fig. 14 and 15 show the transient response of the stator current from 0A to 10A in advance in respect to voltage through the two regulators.

  - Gear-change.

In the Fig. 10 and 12, the variation of the rotation speed at the instant t=3s affects the two powers with a transient regime which lasts 0.2s. No influence appears in the case of the hysteresis regulator as we can see on Fig. 10, 11, 12, and 13.

In the Fig. 14 and 15, the overshoot of stator current is more important for the PI regulator than for the hysteresis regulator.

  - Change of the rotor resistance.

In the Fig. 16 and 17, we have changed the value of the resistance Rr of the machine at the instant t=0s from 2.62 Ω to 5.24 Ω. The results show that the influence of the change of Rr is nearly negligible for the hysteresis regulator, but for the PI regulator, the time response and the overshooting decrease slightly in transient regime.

We notice on the Fig.16 that on the one hand the stator current is disturbed by the change of the rotation speed at the instant t=3s and presents a transient regime, on the other hand this phenomenon doesn't appear for the hysteresis regulation (Fig.17).

- Analysis of the harmonics rate in stator currents.

The equations (5) et (6) give the follow equations with ds=s=cte and qs=0 :

Ids=ΦsLs−M.IdrLs				(29)

Iqs=−M.IqrLs					(30)

These equations show the linear relation between the rotor and stator currents, therefore the harmonics of the rotor currents provided by the inverter generate the same harmonics in the stator currents.

The harmonics in the case of the hysteresis controller are less significant than those in the case of the PI controller, and this is due to the use of the PMW strategy in the last controller, which is the source of the harmonics in the inverters. Moreover the hysteresis controller gives a faster response since it reacts to the variations of the rotor currents. So there are less disturbances and better stability of the rotor currents and less harmonics in the stator currents.

We can evaluate the importance of these harmonics by using Fast Fourier Transform (FFT) of the stator currents and the results obtained show the difference of the harmonics rate between the two strategies (Fig. 20 and 21)

In another manner, we can evaluate these distortions due to the harmonics using the THD (Total Harmonic Distortion rate) where:

THDIs=I2shIsf				(31)

Isf represents the amplitude of the fundamental current, Ish the harmonic current of the row h.

The harmonic rate for the PI regulator without filter is 77% and is reduced to 50% with the presence of the filter. On the other hand the harmonic rate in the hysteresis regulator (Fig.22) without filter is 5.9% and it is reduced to 3.8% with the presence of the filter (Fig. 23).

- Commutation frequency.

In our case, the commutation frequencies of the inverters are given below:

- for the PI regulators, the commutation frequency of the switches is about 10 kHz.

-  for the hysteresis regulator, it’s between 10 and 50 kHz, which is acceptable for IGBT switches.

- Conclusion

After introducing the mathematical model of the DFIG, we have presented two control strategies of active and reactive powers of the DFIG connected to the network: the first one is based on PI controller and the second one relies on hysteresis regulator. So as to evaluate the performances of each strategy, we applied an active power step reference, a speed variation, and a change of the machine parameters.

Simulation results show that hysteresis regulator (or indirect control by rotor currents):

- gives the best time response,

- is less sensitive to speed variation (which is better for the application to wind turbines),

- is more robust to parameters variation of the machine,

-  provides less harmonics in stator currents,

- does not present gain of decoupling circuit,

- and does not use PWM modulator.

However the hysteresis regulator presents the drawback to have a high frequency of commutation which may lead to the warming-up of the silicon switchers.

Moreover the three levels inverter can support a higher voltage (twice more significant than for a two levels one).

| a. Responses of PI Controller | b. Responses of Hysteresis Controller |
| --- | --- |
| 0 0.5 1 1.5 2 2.5 3 3.5 4 -2.5 -2 -1.5 -1 -0.5 0 0.5 1 1.5 x 10 4 t(s) Ps(W) Fig. 10. Ps response for Ps* step and  variation | 0 0.5 1 1.5 2 2.5 3 3.5 4 -2.5 -2 -1.5 -1 -0.5 0 0.5 1 1.5 x 10 4 t(s) Ps(W) Fig. 11. Ps response for Ps* step and  variation |
| Qs(VAR) 0 0.5 1 1.5 2 2.5 3 3.5 4 -1 -0.5 0 0.5 1 1.5 2 x 10 4 t(s) Fig. 12. Qs response for Ps* step and  variation | Qs(VAR) 0 0.5 1 1.5 2 2.5 3 3.5 4 -1 -0.5 0 0.5 1 1.5 2 x 10 4 t(s) Fig. 13. Qs response for Ps* step and  variation |
| 0 0.5 1 1.5 2.5 3 3.5 4 -60 -40 -20 0 20 40 60 t(s) Isa(A) Fig. 14. Is current component for Ps* step and  variation | 0 0.5 1 1.5 2 2.5 3 3.5 4 -60 -40 -20 0 20 40 60 t(s) Isa(A) Fig. 15. Is current component for Ps* step and  variation |
| 0 0.5 1 1.5 2 2.5 3 3.5 4 -60 -40 -20 0 20 40 60 t(s) Isa(A) Fig. 16. Is current component for Ps* step, Rr and  variation | 0 0.5 1 1.5 2 2.5 3 3.5 4 -60 -40 -20 0 20 40 60 Fig. 17. Is current component for Ps* step, Rr and  variation |
| Isa(A) Isb(A) -15 -10 -5 0 5 10 15 -15 -10 -5 0 5 10 15 Fig. 18. Shape of Lissajou of stator current component Is = f(Is) in permanent regime | Isa(A) Isb(A) -15 -10 -5 0 5 10 15 -15 -10 -5 0 5 10 15 Fig. 19. Shape of Lissajou of stator current component Is = f(Is) in permanent regime |
| Isa(A) 50 100 150 200 250 300 350 400 450 500 0 0.5 1 1.5 2 2.5 3 3.5 4 4.5 5 x 10 -3 f(Hz) Fig. 20. FFT of stator current component Is in permanent regime | Isa(A) 50 100 150 200 250 300 350 400 450 500 0 0.5 1 1.5 2 2.5 3 3.5 4 4.5 5 x 10 -3 f(Hz) Fig. 21. FFT of stator current component Is in permanent regime |

Responses of Hysteresis Controller with filtering

| Fig. 22 : Shape of Lissajou of stator current component Is = f(Is) in permanent regime with filtering | 50 100 150 200 250 300 350 400 450 500 0 0.5 1 1.5 2 2.5 3 3.5 4 4.5 5 x 10 -3 f(Hz) Isa(A) Fig. 23: FFT of stator current component Is in permanent regime with filtering |
| --- | --- |

References

- Forchetti, D., Garcia, G., Valla, M. I.:Vector control strategy for a doubly-fed stand-alone induction generator, 28th Annual Conference of the IEEE Industrial Electronics Society (IECON'02), Vol. 2, p. 991 – 995, 2001.

- Morel, L., Godfroid, H., Mirzaian, A., Kauffmann, J. M.: Doubly-fed induction machine: converter optimisation and field oriented control without position sensor, IEE Proceedings - Electric Power Applications, Vol. 145, Issue 4, p. 360-368, 1998.

- Datta, R., Ranganathan, V. T.: A simple position-sensorless algorithm for rotor-side field-oriented control of wound-rotor induction machine, IEEE Transactions on Industrial Electronics, Vol. 48, No. 4, p. 786-793, August 2001.

- Tang, Y., Xu, L.: A flexible active and reactive power control strategy for variable speed constant frequency generating system, IEEE Transactions on Power Electronics, Vol 10 N°4, July 1995.

- Trounce, J.C., Round S.D. and Duke R.M.: Evaluation of Direct Torque Control Using Space Vector Modulation for Electric Vehicle Applications. Australasian Universities Power Engineering Conference, 2001, pp. 292-297, Perth, Australia.

- Datta, R. and Ranganathan, V.T.: Direct Power Control of grid-connected wound rotor Induction Machine without rotor position sensors, IEEE Transactions on Power Electronics, Vol. 16 N° 3, pp 390-399, 2001.

- Khatounian, C, Khatounian, F., Monmasson, E., Berthereau, F., Louis, J.P : Commande d’un système de generation électrique pour réseau de bord d’avion –Introduction de charges non linéaires et la mise en place d’un filtrer LC, 18-19 mars 2004, Cergy Pontoise.

- Bonal, J., Seguier, G. :Entrainements électriques à vitesse variable, Prométhée Schneider Electric, Vol.3, pp 156-157.